**How to use the respiratory training device:**

1.) Put the battery switch into **“battery”** position.

2.) The device will create a WiFi network called **“roving1”**. Simply connect to the WiFi network via the iPad. No password required.

3.) Wait 5-10 seconds for the connection to establish, then open the RespTraining application and press **“Connect”**

4.) The graph will start plotting. The graph will auto calibrate the scale every time the cursor traverses across the full width of the screen.

5.) If the application is stuck or otherwise dysfunctional, power off the device by putting the switch into **“Charger”** position, and repeat steps 1-3.

**To charge the device, make sure the switch is in the “charger” position and plug the the device into a USB socket.**